## GIS Suite
Doc Ref | Document Title | Industry Wide Product Approval Requirement | Latest Version
GDN/PM/GT/1 | Management Procedure for Requesting Gas Service Pipe Pressure and Capacity Information from Gas Transporters | Not applicable | 2023; Version 1.4 July 2023
GDN/PM/GT/2 | Management Procedure for Requesting a Gas Transporter to Authorise the Setting and Sealing of Regulators and Associated Safety Devices; Authorise the Installation of a Meter Bypass,and, Approve a Meter Housing Design | Not applicable | 2015; Version 1.3 August 2015
GIS/14525 | Specification for Flanged Adaptors and Mechanical Couplings from DN50 to DN600 and up to 2 bar Maximum Operating Pressure. | Kitemark | 2011; last reviewed in in 2021
GIS/C5 | Specification for grey cast iron castings supplementary specification to BS1452:1961. (up to 7bar) | Not required | 2018; last reviewed in in 2023
GIS/C6 | Specification for pipe fittings cast in ductile iron. (up to 2 bar) | Kitemark | 2006; last reviewed in in 2023
GIS/C8 | Specification for grey or ductile iron castings for split tee type fittings, including collars, for use at pressures up to 7 bar. | Kitemark | 2006; last reviewed in in 2023
GIS/C9 | Specification for Carbon Steel Castings for Pressure Purposes Above 7 Barg (Supplementary to BS EN 10213) | By individual Gas Network | 2021
GIS/CW2 | Specification for Cold Applied Wrapping Tapes and Tape Systems | By individual Gas Network | 2020
GIS/CW5 | Specification for Field Applied External Coatings for Buried Pipework and Systems | By individual Gas Network | 2020
GIS/CW6 | Specification for the External Protection of Steel Line Pipe and Fittings using Fusion Bonded Powder and other Coating Systems - Requirements and methods of test for coating materials and factory applied coatings | By individual Gas Network | 2020
GIS/CW9 | Specification for External Concrete Coatings | By individual Gas Network | 2020
GIS/DAT6 | Standard Sizes of Carbon & Carbon Manganeze Steel Pipe for Operating Pressures Greater than 7 Bar | Not required | 2019
GIS/DAT12 | Aluminium Based Light Metals & Paints in Potentially Hazardous Areas | By individual Gas Network | 2019
GIS/DIN3586 | Specification for Thermal Cut Off Valves for gas installation. Addenda to DIN 3586, Thermally Activated Shutting-Off Devices for Gas | By individual Gas Network | 2022
GIS/DIN30652-1 | Specification for Excess flow valves for gas installation. Addenda to DIN 30652-1, Excess flow valves - Part 1: Excess flow valves for gas installation | By individual Gas Network | 2022
GIS/E1 | Specification for combined drilling, tapping and service fitting insertion machines for use up to 2 bar. | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/E4 | Specification for inflatable, self-centring bag stoppers for use on distribution mains up to and including 300mm/12 in. nominal size. | Kitemark | 2013; last reviewed in in 2017
GIS/E5 | Specification for Pipe cutting wheels for hand-operated wheeled pipe cutters | By individual Gas Network | 2013; last reviewed in in 2023
GIS/E6 | Specification for thermal vaporisers/foggers for joint sealing on gas mains at pressures of 2 bar and below. | By individual Gas Network | 2013; last reviewed in in 2023
GIS/E8 | Specification for Searcher bars | Verification Certification / By TSF | 2021
GIS/E13 | Specification for Cartridge Type Filters for Use with Natural Gas at Operating Pressures Above 7 Bar | By individual Gas Network | 2022
GIS/E13-1 | Specification for gas filters (80mm nominal size and above) suitable for use in the pressure range above 75 mbar and not exceeding 7 bar | Kitemark | 2019
GIS/E17- 2 | Specification for insulation joints Part 2 - Joints operating at pressures not greater than 7 bar | Kitemark | 2018; last reviewed in in 2023
GIS/E19 | Specification for primary iris stop bags | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/E20 | Specification for secondary iris stop bags | Verification Certification / By TSF | 2013; last reviewed in in 2023
GIS/E22 | Specification for vehicle-mounted leakage survey equipment. | By individual Gas Network | 2006; last reviewed in in 2023
GIS/E34 | Specification For The Procurement Of Pressure Regulating Modules With Inlet Pressures Above 75 Mbar But Not Exceeding 7 Bar For Regulators With Design Flow Rates Greater Than 6 m3/hr | By individual Gas Network | 2021
GIS/E48 | Specification For P.E. Service Line Tracing Equipment | By individual Gas Network | 2006; last reviewed in in 2023
GIS/E49 | Specification for polyethylene coil trailers | By individual Gas Network | 2019
GIS/E58 | Specification Gland Seal For Insertion of PE Pipe Into low Pressure Gas Mains | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/E59 | Specification for Foam Plug Flow Stop Devices for LP and MP Gas Mains | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/ECE1 | Specification for electrofusion control boxes | Verification Certification / By TSF | 2017; last reviewd in 2022
GIS/EFV1 | Specification For Flow Limiters For PE services operating at pressures above 75mbar and not exceeding 2.0 bar and for gas flows not exceeding 6m³h-1 | Kitemark | 2006; last reviewed in in 2023
GIS/F2 | Specification for main sealing plugs and service connection fittings for use at pressures not greater than 2 bar | Kitemark | 2013; last reviewed in in 2023
GIS/F6 | Specification for Carbon and Manganese Steel Pipe Pups for Operating Pressures Greater Than 7 Barg | By individual Gas Network | 2021
GIS/F7 | Specification for steel welding pipe fittings 15mm to 450mm inclusive nominal size for operating pressures not greater than 7 bar | Kitemark | 2006
GIS/F9 | Specification for Metric and Imperial Stainless Steel Single and Twin Ferrule Compression Fittings for Tubes | Kitemark | 2020
GIS/F10 | Specification for ancillary fittings used for the live insertion of gas mains operating at pressures equal to or less than 75 mbar. | Verification Certification / By TSF | 2021
GIS/F11 | Specification for the manufacture of grouted tee connections for metallic mains operating at pressures up to 7 bar | Verification Certification / By TSF | 2015; last reviewed in in 2021
GIS/F12 | Specification for Grouted Tee Connections For Metallic Mains Operating At Pressures up to 7 Bar | Verification Certification / By TSF | 2015; last reviewed in in 2021
GIS/F13 | Specification for Ductile Iron and Fabricated steel cap ends for use up to 2bar MOP | Kitemark | 2022
GIS/F16 | Specification for in-pipe close fit lined pipe service fittings | Verification Certification / By TSF | 2023
GIS/F17 | Specification for In-pipe close fit lined mains connection fittings | Verification Certification / By TSF | 2023
GIS/GQ7 | Specification For Equipment For Odour Intensity Monitoring | By individual Gas Network | 2006; last reviewed in in 2018
GIS/L2 | Specification for steel pipe 21.3mm to 1 219mm outside diameter for operating pressures up to 7 bar (Supplementary to BS EN 10208-1) | Kitemark | 2018
GIS/LC1 | Specification for Leak Repair and annular sealants for metallic gas mains and services up to 7bar | Kitemark | 2022
GIS/LC8-1 | Specification for methods of repairing leaking ferrous gas mains. Part 1 - External systems (excluding joint and pipe clamps) | Kitemark | 2006
GIS/LC8-3 | Specification for methods of repairing leaking ferrous gas mains. Part 3 - Internal sealing methods | Kitemark | 2006
GIS/LC8-4 | Specification for methods of repairing leaking ferrous gas mains. Part 4 - Pipe repair clamps. Split collars and under pressure branch connections | Kitemark | 2006; last reviewed in in 2023
GIS/LC9 | Specification for methods of repairing joints on screwed pipework | Kitemark | 2006
GIS/LC12 | Specification For External Sealant Injection Systems For Joint Repair On Ferrous Distribution Mains Systems Operating At Pressures Equal To Or Less Than 2 Bar | Kitemark | 2006
GIS/LC14 | Specification for annular gap sealants | Kitemark | 2009; last reviewed in in 2014
GIS/LC25 | Specification For External Sealant Injection Systems For Joint Repair On Ferrous Distribution Mains Systems Operating At Pressures Equal To Or Less Than 2 Bar Performance Specification | Kitemark | 2006
GIS/P1 | Specification for Welding of Steel Pipe Designed to Operate at Pressures Not Greater Than 7 Bar | Not applicable | 2024
GIS/P2 | Specification for Welding of Steel Land Pipelines Designed To Operate At Pressures Greater Than 7 Bar (Supplementary to BS 4515-1:2009) | Not applicable | 2024
GIS/P5 | Specification for Welding and Inspection of Austenitic Stainless Steel Pipework | Not applicable | 2024
GIS/P16 | Specification for The Dimensions and Applications of Standard Weld End Preparations for Steel Pipe Fittings and Valves | Not required | 2020
GIS/PA9 | Specification for Paint Systems - Properties and Performance Requirements | By individual Gas Network | 2022
GIS/PA10 | Specification for Maintenance Painting at Works and Site for Above Ground Pipeline and Plant Installations | By individual Gas Network | 2022
GIS/PL2-1 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas Part 1 - General & PE compounds for use in PE pipes and fittings. | Not required | 2022
GIS/PL2-2 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas Part 2 - Pipes for use at pressures up to 5.5 bar | Kitemark | 2022
GIS/PL2-3 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas - Part 3 - Butt fusion tooling and ancillary equipment | Verification Certification / By TSF | 2021
GIS/PL2-4 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas. Part 4 - Fusion fittings with integral heating element(s) | Kitemark | 2019
GIS/PL2-5 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas. Part 5 - Electrofusion ancillary tooling | Verification Certification / By TSF | 2018; last reviewed in in 2023
GIS/PL2-6 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas Part 6 - Spigot end fittings for electrofusion and/or butt fusion purposes. | Kitemark | 2018; last reviewed in in 2023
GIS/PL2-7 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas. Part 7 - Squeeze-off equipment. | Verification Certification / By TSF | 2013; last reviewed in in 2023
GIS/PL2-8 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas Part 8 - Pipes for use at pressures up to 7 bar | Kitemark | 2022
GIS/PL2-9 | Specification for polyethylene pipes and fittings for natural gas and suitable manufactured gas Part 9 - Flexible Twin-walled Corrugated Pipes for Use at Pressures up to 75 mbar | Kitemark | 2019; last reviewed in 2024
GIS/PL2-10 | Specification for Methods of repairing leaking PE gas mains operating at pressures up to 2 bar (UK) and 4 bar (Ireland) | Kitemark | 2020
GIS/PL3 | Specification for Self Anchoring Mechanical Fittings for Polyethylene Pipe for Natural Gas and Suitable Manufactured Gas | Kitemark | 2023
GIS/PRS35 | Specification for GRP Housings for Gas Regulator Installations and Associated Operation Equipment | By individual Gas Network | 2011; last reviewed in in 2021
GIS/RIS1 | Specification for Press Fit Stainless Steel Network Riser System Components | Not applicable | 2023
GIS/SER6 | Specification For Live Riser Transfer Technique | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/TE/D1.2 | Specification for non-tap mains sealing plugs for use in access holes from 2 in to 6 in diameter and for use up to 2 bar MOP | Kitemark | 2006; last reviewed in in 2023
GIS/TE/D1.3 | Specification for holesaws and holesaw taps for use on gas pipes with operating pressures not greater than 2 bar | By individual Gas Network | 2006; last reviewed in in 2023
GIS/TE/E1.7 | Specification for tooling for the removal of caps and plugs from live low pressure services | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/TE/E1.8 | Specification for access tool for live entry into a low pressure polyethylene service | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/TE/E1.9 | Specification for LIve Mains Abandonment Equipment for LP Mains | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/TE/P6.1 | Specification for bypass equipment with integral pressure monitoring points for mp pe mains | Verification Certification / By TSF | 2006; last reviewed in in 2023
GIS/TE/P6.3 | Specification for equipment used in testing gas mains and gas services with operating pressures not greater than 7 bar | Verification Certification / By TSF | 2021
GIS/TR29 | Specification for Pipeline Marker Posts | By individual Gas Network | 2022
GIS/V4 | Specification for service isolation valves up to 50 mm diameter for use up to 7 bar maximum working pressures | Kitemark | 2007; last reviewed in in 2023
GIS/V6 | Steel Valves for use with Natural Gas at normal Operating Pressures above 7 Bar & Sizes above DN15 (Supplementary to EN 13942:2009) | By individual Gas Network | 2023
GIS/V7-1 | Specification for Distribution Valves Part 1 - Metal-bodied line valves for use at pressures up to 16 bar and construction valves for use at pressures up to 7 bar | Kitemark | 2022
GIS/V7-2 | Specification for Distribution Valves - Part 2 plastic bodied valves of sizes up to 180mm suitable for operation at pressures not exceeding 5.5 Bar | Kitemark | 2020
GIS/V7-3 | Specification for Distribution Valves. Part3 - Brass bodied manually operated ball and taper plug valves not exceeding 5 bar maximum operating pressures | Kitemark | 2022
GIS/V8 | Valves (25 mm Nominal Size & below) for Instrumentation & Control Purposes | By individual Gas Network | 2019
GIS/V9-1 | Specification for the performance requirements for slamshut valves for governor installations with inlet pressures in the range greater than 75 mbar to not greater than 7 bar Part 1 - Spring operated diaphragm type slamshut valves | Kitemark | 2018
GIS/V12 | Specification For Sealant Replacement For Valves Operating Up To And Including 2 Bar | Kitemark | 2006; last reviewed in in 2023
GIS/VA1 | Fluid Powered Actuators for Two Position (Open/Closed) Quarter Turn Valves | By individual Gas Network | 2019
GIS/VA2 | Specification for Electric Powered Actuators for Two Position (Open/Closed) Quarter Turn Valves | By individual Gas Network | 2020
GIS/WP1 | Specification for Weldability Testing of Pipe Fittings For Service at Pressure Above 7 Bar | Not applicable | 2024
GT/GN/1 | Guidance Note for GTs Liaising with Building Owners & Building Safety Managers within Multi-Occupancy Buildings | Not applicable | 2023
Product Approval Requirements explained:
• Kitemark certification from the British Standards Institution (BSI), which provides independent verification that the product conforms to the required standard – generally for high-volume, gas-carrying products.
For Kitemarking queries, please contact owen.mace@bsigroup.com
• By verification certification / by TSF*, for some non-gas carrying and lower volume products.
• By individual gas network, wherein the relevant gas transporter will conduct their own due diligence to determine the suitability of a product.
• Not required, for those products not requiring formal assessment.
• Not applicable, for standards which do not apply to products.
*the TSF, or Technical Standards Forum, are a group established to manage the suite of common engineering procedures and specifications used by the Gas Networks. The scope of the group’s work is to coordinate, promote and facilitate the development of appropriate industry procedures and specifications. This helps to ensure networks are designed, constructed, and operated in compliance with relevant legislation and industry best practice, thereby ensuring the best overall interests of all stakeholders are met. The group's membership comprises Cadent Gas, Northern Gas Networks, SGN, Wales and West Utilities, National Gas, Gas Networks Ireland, GTC and BSI.